BLDG: 									             Date:

# CHEMICALS

|  | YES | NO |
| --- | --- | --- |
| Inventory of hazardous chemicals is current (within one year). |  |  |
| MSDS readily available for each hazardous material on inventory. |  |  |
| Chemicals stored properly. (Insecticides, Detergents/Sanitizers, Caustics/Acids/Polishes) |  |  |
| All Containers properly identified and labeled with hazard warnings. |  |  |
| Proper personal protective equipment used when handling chemicals (see MSDS). |  |  |
| Chemical hazard communication training received by all employees and documentation in personnel files (current within one year). |  |  |
| Working Eye wash station available with continuous 15-minute flow. |  |  |

# STORAGE AREAS

|  | YES | NO |
| --- | --- | --- |
| Aisles clear and floor clean. |  |  |
| Shelves and racks are of adequate strength and are secured. |  |  |
| Compressed gas cylinders stored in upright position, are individually chained and those not in use have protective caps in place. |  |  |
| Employees frequently receive training on correct lifting techniques. |  |  |
| Heavy items stored on shelves between knee and shoulder height. |  |  |
| No goods over 30 lbs. stored at more than five feet above floor. |  |  |
| Step ladder in good condition and of sufficient height to reach tip of storage without standing on the top tow steps. |  |  |
| Sharp edges are identified and eliminated. |  |  |
| Bump hazards are eliminated |  |  |
| Falling object hazards are eliminated. |  |  |

# EXITS

|  | YES | NO |
| --- | --- | --- |
| Exit Routes unobstructed./ |  |  |
| Exits clearly marked with illuminated signs. |  |  |
| Emergency lighting provided for all occupied areas and tested. |  |  |
| Emergency evacuation plans posted. |  |  |
| All doors in exit path kept closed. |  |  |
| Lighting is adequate. |  |  |
| Handrails provided on all stairs. |  |  |
| Adequate number of exits provided. |  |  |
| Exit doors are operable in the path of exit travel without the use of a key or any special knowledge. |  |  |

# ELECTRICAL

|  | YES | NO |
| --- | --- | --- |
| All electrical cords are in good condition. |  |  |
| Extension cords are not used in place of permanently installed fixed wiring. |  |  |
| Cover plates, switches, outlets, etc. are in good condition. |  |  |
| Equipment grounded or double insulated. |  |  |
| A Lockout/tagout procedure in place and staff is trained regarding these procedures. See section 406 for additional information. |  |  |
| Ground plugs on equipment in good condition. |  |  |
| Motors are clean and properly lubricated. |  |  |
| Emergency shutdown switches installed and easily accessible. |  |  |
| Switches and circuit breakers are clearly marked to indicate equipment/areas controlled. |  |  |
| Control panels have minimum 36” of unobstructed workspace in front and are closed. |  |  |

# FIRE PREVENTION

|  | YES | NO |
| --- | --- | --- |
| Portable fire extinguishers properly mounted, accessible and serviced annually. |  |  |
| All employees familiar with the location of portable extinguishers, manual controls on extinguishing systems and fire alarms. |  |  |
| Minimum of 18” clearance under sprinkler heads. |  |  |
| Fire doors in proper operational condition and unobstructed. |  |  |
| Do employees know how to report a fire? |  |  |
| All fire alarms unobstructed. |  |  |
| Hoods, filters, and ducts clean and free of grease accumulation. A cleaning schedule has been established. |  |  |
| Emergency phone numbers posted at several locations (i.e. kitchen and office) |  |  |

# Custodial/Other

|  | YES | NO |
| --- | --- | --- |
| 1. All floors are clear of debris and dry. |  |  |
| 2. Shelves and racks are of adequate strength and are secured |  |  |
| 3. Walk off mats used when needed. |  |  |
| 4. All mats are in good condition. |  |  |
| 5. Receiving area free of bump/slip/trip hazards. |  |  |
| 6. Custodial closets neat and clean. |  |  |
| 7. Custodial cars properly stocked and cleaned. |  |  |
| 8. Wet Floor signs used properly. |  |  |

EXPLANATION FOR QUESTIONS ANSWERED “NO”

| PROBLEM AREA (list question) | DISCREPANCY | CORRECTIVE ACTION | BY WHOM | TARGET DATE | DATE COMPLETED |
| --- | --- | --- | --- | --- | --- |