## Sheet1
WKU Residential Buildings Fire Log 2017 | Total Fire Alarms in Building for calendar year 2017 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Barnes Campbell Hall 419 Regents Avenue | 2 | 1 | 2017-01-15 | 0:40 | A sprinkler head on the eighth floor was activated for an unknown reason causing water to discharge, flood rooms 808 thru 818 and flow down the stair well to the first floor |  |  |  | 2017-0210
|  | 1 | 2017-07-10 | 11:20 | ESA cleaning with chemical activated smoke detector |  |  |  | 17-03575
Bates Runner 1520 Avenue of Champions | 1 | 1 | 2017-09-22 | 21:49 | Burnt Food |  |  |  | 17-00338
Bemis Lawerence 429 Regents avenue | 5 | 1 | 2017-03-03 | 1:37PM | Burnt food on 4th floor |  |  |  | 2017-1006
|  | 1 | 2017-05-08 | 06:16AM | burnt food in the kitchen |  |  |  | 2017-2452
|  | 1 | 2017-06-20 | 04:06PM | Burnt Food |  |  |  | 2017-3059
|  | 1 | 2017-07-10 | 11:20 | burnt food |  |  |  | 17-03751
|  | 1 | 2017-10-16 | 20:45 | 8th floor kitchen, burnt food
Douglas Keen Hall 1776 Avenue of champions | 4 | 1 | 2017-04-04 | 19:22 | extremely dirty smoke detector |  |  |  | 2017-3059
|  | 1 | 2017-05-08 | 6:16PM | extremely dirty smoke detector |  |  |  | 2017-2202
|  | 1 | 2017-10-01 | 4:29 | Burnt Food 6th floor kitchen |  |  |  | 2017-5213
|  | 1 | 2017-12-05 | 3:10Am | caused by someone discharging a fire extinguisher 5th floor (6th and 7th) |  |  |  | 2017-6284
Florence Schneider Hall 309 College Heights Blvd | 2 | 1 | 2017-04-25 | 9:50 | Cause of alarm was caused by water pressure issue in the sprinkler system |  |  |  | 2017-1963
|  | 1 | 2017-05-14 | 16:17 | fan blade stuck in motor and caused the belt to burn creating smoke no damage to building |  |  |  | 2017-2308
Gilbert Hall 230 College Heights Blvd | 1 | 1 | 2017-09-30 | 0:00 | Burnt Food coming from the 4th floor kitchen |  |  |  | 2017-5195
Hugh Poland Hall 1756 Avenue of champions | 2 | 1 | 2017-08-07 | 0:03 | Serpro cleaning set off smoke detector |  |  |  | 2017-4042
|  | 1 | 2017-09-08 | 9:16 | student cooking burt bacon caried it down hallway and set of smoke detector |  |  |  | 2017-4724
1355 Kentucky St. Apts
1350 Kentucky St Apts Gateway
McCormack Hall 220 College Heights Blvd | 2 | 1 | 2017-09-04 | 19:47 | smoke detector activated from dust from cleaning hallway |  |  |  | 2017-4688
|  | 1 | 2017-12-02 | 12:26Pm | E-Cig set off the alarm |  |  |  | 2017-6284
McLean Hall 1514 Avenue of Champions | 1 | 1 | 2017-03-21 | 17:44 | Burnt Food coming from the 2nd floor kitchen |  |  |  | 2017-1309
Meredith Hall 1775 Normal Street
Minton Hall 1595 Normal street
Northeast Hall North: 1579 Normal St. East: 1575 Normal St. | 3 | 1 | 2017-03-19 | 19:34 | Dumpster fire outside East hall |  |  |  | 2017-1271
|  | 1 | 2017-07-23 | 8:49 | contractor caused dust and set off smoke detector |  |  |  | 17-03738
|  | 1 | 2017-09-28 | 16:56 | Air Pocket in the sprinkler system |  |  |  | 2017-5161
Pearce Ford Tower 1766 Avenue of Champions | 1 | 1 | 2017-08-20 | 14:06 | student cooking with oil to fry food, got out of control she removed skillet and set off sprinkler head. |  |  |  | 2017-00277
Phi Delta Theta Fraternity House 330 College Alumni Avenue
Rodes Harlin Hall 1474 Kentucky Street
SAE Fraternity House 300 Alumni Avenue | 3 | 1 | 2017-05-02 | 09:57PM | excessive smoke in bedroom where people were smoking |  |  |  | 2017-2112
|  | 1 | 2017-05-08 | 01:11PM | smoke from a candle that had been blown out in one of the rooms by a resident |  |  |  | 2017-2197
|  | 1 | 2017-05-10 | 11:16PM | Smoke from a candle or incense |  |  |  | 2017-2240
Southwest Hall South: 1591 Normal St. West: 1587 Normal St. | 1 | 1 | 2017-03-16 | 12:11 | Alarm was caused by sheetrock dust. Contractors working inside west building |  |  |  | 2017-1226
Zacharias Hall 1755 Normal street
$100 Solution House 1534 Chestnut Street | 2 | 1 | 2017-05-16 | 0:55 | steam from the shower |  |  |  | 2017-2324
|  | 1 | 2017-05-30 | 01:54PM | Backlog |  |  |  | 2017-2631
Total | 30
*- Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire.